EXECUTIVE Summary

| NO. | EQUIPMENT | AREA | IR (Abs T/âˆ†T) | US (dB) | DEFECT |
| --- | --- | --- | --- | --- | --- |
| 1. | RMU SF6 TAMCO | OVERVIEW | - | - | - |
|  |  | OVERVIEW TOP | - | - | - |
|  |  | OVERVIEW BOTTOM | - | - | - |
|  | PANEL CCH00666 JALAN BOH | CABLE COMPARTMENT | - | - |  |
|  |  | CABLE ENTRY | - | - |  |
|  | PANEL CCH00667 TX 100kVA | CABLE COMPARTMENT | - | - |  |
|  |  | CABLE ENTRY | - | - |  |
|  | PANEL CCH00668 SSU HOSPITAL | CABLE COMPARTMENT | - | - |  |
|  |  | CABLE ENTRY | - | - |  |
| 2. | TX1 MTM 100kVA | OVERVIEW | - | - | - |
|  |  | HV BUSHING | - | - |  |
|  |  | HV CABLE | - | - |  |
|  |  | LV BUSHING | - | - |  |
|  |  | LV CABLE | - | - |  |