EXECUTIVE Summary

| NO. | EQUIPMENT | AREA | IR (Abs T/âˆ†T) | US (dB) | DEFECT |
| --- | --- | --- | --- | --- | --- |
| 1. | RMU SF6 TAMCO | OVERVIEW | - | - | - |
|  |  | OVERVIEW TOP | - | - | - |
|  |  | OVERVIEW BOTTOM | - | - | - |
|  | PANEL CCH00347 KTRS TNB | CABLE COMPARTMENT | - | - |  |
|  |  | CABLE ENTRY | - | - |  |
|  | PANEL CCH00346 LOJI AIR | CABLE COMPARTMENT | - | - |  |
|  |  | CABLE ENTRY | - | - |  |
|  | PANEL CCH00345 SSU HABU | CABLE COMPARTMENT | - | - |  |
|  |  | CABLE ENTRY | - | - |  |