EXECUTIVE Summary

| NO. | EQUIPMENT | DEFECT AREA | IR (Abs T/ΔT) | DEFECT |
| --- | --- | --- | --- | --- |
|  | MRMU, INDKOM | OVERVIEW | - | - |
|  |  | OVERVIEW TOP | - | - |
|  | PANEL CCH00420 BERTAM MEWAH | CABLE COMPARTMENT | - |  |
|  | PANEL CCH00423 CS JENSIN | CABLE COMPARTMENT | - |  |
|  | PANEL CCH00422 OUF | CABLE COMPARTMENT | - |  |
|  | PANEL CCH00421 TX | CABLE COMPARTMENT | - |  |
|  | TX1 EWT 750kVA | OVERVIEW | - | - |
|  |  | HV BUSHING | - |  |
|  |  | HV CABLE | - |  |
|  |  | LV BUSHING | - |  |
|  |  | LV CABLE | - |  |
|  | FP TX1 | OVERVIEW | - | - |